## Feuil1
cat | name | size | price_buy | price_currency | price_sell | supplier | description | specifications
ADPT-3mm | 3mm to 1/8" Tubing Adapter | 1each | 29.72 | USD | 105 | Next Advance | Adapter to connect 3mm stainless steel tubing to pressure injection cells. | Product Type: Accessory; Product Family: Pressure Cell
ADPT-ISO | 1/4" ISO to 1/8" Tubing Adapter | 1each | 24.76 | USD | 98 | Next Advance | Adapter for connecting 1/8 inch stainless steel tubing to pressure regulators with metric fittings. | Product Type: Accessory; Product Family: Pressure Cell
AR36 | Arctic Rack | 1each | 105.2 | USD | 207 | Next Advance | Tube rack with cooling for 1.5mL or 2.0mL tubes. | Product Type: Accessory; Product Family: Bullet Blender
BB24-AU | Bullet Blender Gold | 1each | 5386.5 | USD | 7337 | Next Advance | Homogenizer. 24 samples in microcentrifuge tubes. More powerful motor. Cooling to maintain 4C sample temperature. Includes starter kit of beads, scoop and tubes. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BB5E-AU | Bullet Blender 5 Gold | 1each | 5596.5 | USD | 7620 | Next Advance | Homogenizer for 12 samples in 5mL tubes. Cooling to maintain 4C sample temp. Includes starter kit of beads, scoops and tubes. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BB50-AU | Bullet Blender 50 Gold | 1each | 5526.5 | USD | 7526 | Next Advance | Homogenizer for 8 samples in 50mL tubes. Cooling to maintain 4C sample temp. Includes starter kit of beads, scoops and tubes. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BB50-DX | Bullet Blender 50-DX | 1each | 4266.5 | USD | 5825 | Next Advance | Homogenizer for 8 samples in 50mL tubes. Includes starter kit of beads, scoops and tubes. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BBX24 | Bullet Blender | 1each | 2569 | USD | 3533 | Next Advance | Homogenizer for 24 samples in microcentrifuge tubes. Includes starter kit of beads, scoop and tubes. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BBX24B | Bullet Blender Blue | 1each | 2849 | USD | 3911 | Next Advance | Homogenizer for 24 samples in microcentrifuge tubes. Includes starter kit of beads, scoop and tubes. with Air Cooling. With CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BBY24M | Bullet Blender Storm | 1each | 3097.5 | USD | 4247 | Next Advance | Homogenizer for 24 samples in microcentrifuge tubes. More powerful motor. Includes starter kit of beads, scoop and tubes. With air cooling and CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BBY5E | Bullet Blender 5E | 1each | 3181.5 | USD | 4360 | Next Advance | Homogenizer for 12 samples in 5mL snap-cap tubes. Includes starter kit of beads, scoop and tubes. With more powerful motor, Air Cooling and CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BBY5M | Bullet Blender Storm 5 | 1each | 3157 | USD | 4327 | Next Advance | Homogenizer for 12 samples in 5mL tubes. Includes starter kit of beads, scoop and tubes. With more powerful motor, Air Cooling and CE certification. | Product Type: Equipment; Product Family: Bullet Blender
BSP-50B2 | Bead Sample Pack - 50mL Set | 1pack | 250.81 | USD | 404 | Next Advance | Bead sample pack for Bullet Blender 50mL tube models. Includes 20mL of: ZROB05, ZROB20, SSB02, SSB14B, SSB48, SSB60, SSUFO35 and SSUFO56. | Product Type: Consumable; Product Family: Bullet Blender
BSP-5E | Bead Sample Pack - 5E Set | 1pack | 138.285 | USD | 252 | Next Advance | Bead sample pack for Bullet Blender 5E models. Includes 10mL of: ZROB015, ZROB05, ZROB20, SSB02, SSB14B, SSB32, SSB48, SSUFO35 and SSUFO56. | Product Type: Consumable; Product Family: Bullet Blender
BSP-5Y | Bead Sample Pack - 5M Set | 1pack | 130.2336 | USD | 241 | Next Advance | Bead sample pack for Bullet Blender 5mL Storm models. Includes 10mL of: ZROB015, ZROB05, ZROB20, SSB02, SSB14B, SSB32, SSB60, SSB110 and SSUFO35. | Product Type: Consumable; Product Family: Bullet Blender
BSP-ALL2 | Bead Sample Pack - Full Set | 1pack | 236.11 | USD | 384 | Next Advance | Bead sample pack inlcudes sampling of all 20 bead types in 10mL tubes. | Product Type: Consumable; Product Family: Bullet Blender
BSP-CC2 | Bead Sample Pack - Cell Cultures | 1pack | 96.39 | USD | 195 | Next Advance | Bead sample pack for homogenization of cell cultures. Includes 10mL of: GB01, GB05, ZROB015, ZROB05 and SSB02. | Product Type: Consumable; Product Family: Bullet Blender
BSP-MC2 | Bead Sample Pack - Microcentrifuge Set | 1pack | 123.585 | USD | 232 | Next Advance | Bead sample pack for Bullet Blender 1.5mL tube models. Includes 10mL of: ZROB015, ZROB05, ZROB10, ZROB20, SSB02, SSB14B, SSB32 and SSUFO35. | Product Type: Consumable; Product Family: Bullet Blender
BSP-OT3 | Bead Sample Pack - Organ Tissues | 1pack | 125.79 | USD | 235 | Next Advance | Bead sample pack for homogenization of organ tissues. Includes 10mL of: ZROB05, ZROB10, ZROB20, SSB14B, SSB32 and SSUFO35. | Product Type: Consumable; Product Family: Bullet Blender
BTLN5 | Bottle 5L Nalgene with Quick Connect | 1each | 57.16 | USD | 142 | Next Advance | Nalgene® 5L bottle with One>Click™ quick connect cap. | Product Type: Accessory; Product Family: Freedom Rocker
BTLN5L | Bottle 5L Nalgene | 1each | 44 | USD | 124 | Next Advance | Nalgene® 5L bottle. | Product Type: Accessory; Product Family: Freedom Rocker
BTLN52 | Bottles 2L Nalgene with Quick Connect | 2pack | 69.36 | USD | 159 | Next Advance | Set of two Nalgene® 2L bottles with One>Click™ quick connect caps. | Product Type: Accessory; Product Family: Freedom Rocker
BTLN54 | Bottle 4L Nalgene with Quick Connect | 1each | 57.12 | USD | 142 | Next Advance | Nalgene® 4L bottle with One>Click™ quick connect cap. | Product Type: Accessory; Product Family: Freedom Rocker
CAP-75 | Fused Silica Capillary Tubing | 1roll | 116.96 | USD | 223 | Next Advance | Capillary for LC/MS columns, 75 um ID, 363um OD, 10 meter length. Includes a cleaving tool. | Product Type: Consumable; Product Family: Pressure Cell
CP-C02-5 | Checkit Pro C02 - 5 pack | 5pack | 105.35 | USD | 207 | Next Advance | Pipette Checkit Pro model for 2uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C05-5 | Checkit Pro C05 - 5 pack | 5pack | 98.28 | USD | 198 | Next Advance | Pipette Checkit Pro model for 5uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C10-5 | Checkit Pro C10 - 5 pack | 5pack | 98.21 | USD | 198 | Next Advance | Pipette Checkit Pro model for 10uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C20-5 | Checkit Pro C20 - 5 pack | 5pack | 91.14 | USD | 188 | Next Advance | Pipette Checkit Pro model for 20uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C50-5 | Checkit Pro C50 - 5 pack | 5pack | 84.665 | USD | 179 | Next Advance | Pipette Checkit Pro model for 50uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C100-5 | Checkit Pro C100 - 5 pack | 5pack | 84.525 | USD | 179 | Next Advance | Pipette Checkit Pro model for 100uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CP-C200-5 | Checkit Pro C200 - 5 pack | 5pack | 84.385 | USD | 179 | Next Advance | Pipette Checkit Pro model for 200uL pipettes. Pack of 5. | Product Type: Consumable; Product Family: Checkit
CTOOL1 | Capillary Cleaving Tool | 1each | 5.8 | USD | 73 | Next Advance | Ceramic tool for cleaving fused silica capillary. | Product Type: Accessory; Product Family: Pressure Cell
EW-50 | Extended Warranty 50 | 1each | 639.975 | USD | 929 | Next Advance | Extended warranty on a BB50-DX Bullet Blender, from 2 to 4 years. Includes priority on repairs, parts, labor and domestic shipping. | Product Type: Accessory; Product Family: Bullet Blender
EW-BBX | Extended Warranty BBX | 1each | 427.35 | USD | 642 | Next Advance | Extended warranty on a BBX series Bullet Blender, from 2 to 4 years. Includes priority on repairs, parts, labor and domestic shipping. | Product Type: Accessory; Product Family: Bullet Blender
EW-BBY | Extended Warranty BBY | 1each | 464.625 | USD | 692 | Next Advance | Extended warranty on a BBY series Bullet Blender, from 2 to 4 years. Includes priority on repairs, parts, labor and domestic shipping. | Product Type: Accessory; Product Family: Bullet Blender
EW-FRB | Extended Warranty BlotBot | 1each | 839.475 | USD | 1198 | Next Advance | Extended warranty on a Freedom Rocker BlotBot, from 2 to 4 years. Includes priority on repairs, parts, labor and domestic shipping. | Product Type: Accessory; Product Family: Freedom Rocker
EW-GOLD | Extended Warranty GOLD | 1each | 807.975 | USD | 1156 | Next Advance | Extended warranty on a GOLD series Bullet Blender, from 2 to 4 years. Includes priority on repairs, parts, labor and domestic shipping. | Product Type: Accessory; Product Family: Bullet Blender
FER400 | Replacement Ferrules | 10pack | 32.52 | USD | 109 | Next Advance | Replacement PTFE ferrules for a Next Advance Pressure Cell. 0.4mm ID. Pack of 10. | Product Type: Consumable; Product Family: Pressure Cell
FRIT-KIT | Frit Kit | 1each | 43.785 | USD | 124 | Next Advance | Kit to create frits in capillaries. Includes formamide, Kasil-1, Kasil-1624 and a cleaving tool. | Product Type: Consumable; Product Family: Pressure Cell
FRB120 | Freedom Rocker BlotBot 120 | 1each | 5246.5 | USD | 7148 | Next Advance | Next generation automated blot processor. Use to stain or process gels and blots. Includes starter kit. For use with 2 mini or 1 midi sized blots. | Product Type: Equipment; Product Family: Freedom Rocker
FRB240 | Freedom Rocker BlotBot 240 | 1each | 5596.5 | USD | 7620 | Next Advance | Next generation automated blot processor. Use to stain or process gels and blots. Includes starter kit. For use with 4 mini or 2 midi sized blots. | Product Type: Equipment; Product Family: Freedom Rocker
GB01 | Glass Beads 0.1mm | 1pack | 32.2 | USD | 108 | Next Advance | Glass beads. 0.1mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
GB01-RNA | Glass Beads 0.1mm RNase Free | 1pack | 22.995 | USD | 96 | Next Advance | Glass beads. 0.1mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GB05 | Glass Beads 0.5mm | 1pack | 28.35 | USD | 103 | Next Advance | Glass beads. 0.5mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
GB05-RNA | Glass Beads 0.5mm RNase Free | 1pack | 23.03 | USD | 96 | Next Advance | Glass beads. 0.5mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GB10 | Glass Beads 1.0mm | 1pack | 28.385 | USD | 103 | Next Advance | Glass beads. 1.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
GREEN5E20 | 5E GREEN Lysis Kit 20 | 20pack | 43.435 | USD | 124 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREEN5E20-RNA | 5E GREEN RNA Lysis Kit 20 | 20pack | 54.005 | USD | 138 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GREEN5E100 | 5E GREEN Lysis Kit 100 | 100pack | 191.17 | USD | 323 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 1000, 5mL Eppendorf Safe-Lock tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREEN5E100-RNA | 5E GREEN RNA Lysis Kit 100 | 100pack | 237.65 | USD | 386 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 1000, 5mL Eppendorf Safe-Lock tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GREENE1 | Green Lysis Kit 50 | 50pack | 67.76 | USD | 156 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREENE1-RNA | Green RNA Lysis Kit 50 | 50pack | 85.12 | USD | 180 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GREENE5 | Green Lysis Kit 250 | 250pack | 298.2 | USD | 468 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREENE5-RNA | Green RNA Lysis Kit 250 | 250pack | 374.57 | USD | 571 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GREENR1 | Green RINO Lysis Kit 50 | 50pack | 70.35 | USD | 160 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREENR1-RNA | Green RINO RNA Lysis Kit 50 | 50pack | 87.85 | USD | 184 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
GREENR5 | Green RINO Lysis Kit 250 | 250pack | 309.54 | USD | 483 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with beads. | Product Type: Consumable; Product Family: Bullet Blender
GREENR5-RNA | Green RINO RNA Lysis Kit 250 | 250pack | 386.54 | USD | 587 | Next Advance | Bead lysis kits for the homogenization of small, tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
HPREG | High Pressure Regulator | 1each | 526.8 | USD | 776 | Next Advance | High pressure regulator for use with PC77 pressure injection cells. | Product Type: Accessory; Product Family: Pressure Cell
IR101-CE | Infinity Rocker Pro-CE | 1each | 764.295 | USD | 1097 | Next Advance | Laboratory rocker designed for extra long life with digital speed control. 11 x 14 in. (28 x 36 cm) platform. With CE certification. | Product Type: Equipment; Product Family: Infinity Rocker
IR102-CE | Infinity Rocker Mini-CE | 1each | 749.875 | USD | 1077 | Next Advance | Laboratory rocker designed for extra long life with digital speed control. 8 x 9 in. (20 x 23 cm) platform. With CE certification. | Product Type: Equipment; Product Family: Infinity Rocker
IR103-CE | Inifinity Rocker XL-CE | 1each | 836.395 | USD | 1194 | Next Advance | Laboratory rocker designed for extra long life with digital speed control. 20 x 16 in. (51 x 41 cm) platform. With CE certification. | Product Type: Equipment; Product Family: Infinity Rocker
IR301-CE | Infinity Rocker Stack 3-CE | 1each | 1056.195 | USD | 1491 | Next Advance | Laboratory rocker designed for extra long life with digital speed control. Has three 11 x 14 in. platforms. With CE certification. | Product Type: Equipment; Product Family: Infinity Rocker
IR401-CE | Infinity Rocker Stack 4-CE | 1each | 1128.295 | USD | 1588 | Next Advance | Laboratory rocker designed for extra long life with digital speed control. Has four 11 x 14 in. platforms. With CE certification. | Product Type: Equipment; Product Family: Infinity Rocker
IR-CPROG | Infinity Rocker Programming | 1each | 350 | USD | 538 | Next Advance | Custom program development charge. This charge varies from $200 for straightforward programs to $500 for complex ones. | Product Type: Service; Product Family: Infinity Rocker
IR-MOD | Infinity Rocker Modification | 1each | 105 | USD | 207 | Next Advance | This is a required modification to allow an Infinity Rocker to be prorgammed. Includes the mounting of a position sensor to track the motor rotation as well as loading a custom program. | Product Type: Service; Product Family: Infinity Rocker
MSP01 | Measuring Spoon 100 | 25pack | 41.12 | USD | 121 | Next Advance | 100uL (0.1mL) measuring spoon. Ideal for aliquoting beads into tubes. | Product Type: Consumable; Product Family: Bullet Blender
MSP01-RNA | Measuring Spoon 100 RNase Free | 10pack | 49.72 | USD | 132 | Next Advance | 100uL (0.1mL) measuring spoon. Ideal for aliquoting beads into tubes. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
MSP05 | Measuring Spoon 500 | 25pack | 43.28 | USD | 123 | Next Advance | 500uL (0.5mL) measuring spoon. Ideal for aliquoting beads into tubes. | Product Type: Consumable; Product Family: Bullet Blender
MSP05-RNA | Measuring Spoon 500 RNase Free | 10pack | 52.76 | USD | 136 | Next Advance | 500uL (0.5mL) measuring spoon. Ideal for aliquoting beads into tubes. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
MWAND1 | Mag(net)ic Wand | 1each | 20.965 | USD | 93 | Next Advance | Powerful magnetic wand to remove stainless steel beads from homogenization tubes. | Product Type: Accessory; Product Family: Bullet Blender
NAVY5E20 | 5E Navy Lysis Kit 20 | 20pack | 52.535 | USD | 136 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVY5E20-RNA | 5E Navy RNA Lysis Kit 20 | 20pack | 65.24 | USD | 153 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
NAVY5E100 | 5E Navy Lysis Kit 100 | 100pack | 231.21 | USD | 377 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVY5E100-RNA | 5E Navy RNA Lysis Kit 100 | 100pack | 287.07 | USD | 453 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
NAVYE1 | Navy Lysis Kit 50 | 50pack | 81.165 | USD | 175 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVYE1-RNA | Navy RNA Lysis Kit 50 | 50pack | 98.595 | USD | 198 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
NAVYE5 | Navy Lysis Kit 250 | 250pack | 357.14 | USD | 547 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVYE5-RNA | Navy RNA Lysis Kit 250 | 250pack | 433.86 | USD | 651 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
NAVYR1 | Navy RINO Lysis Kit 50 | 50pack | 83.79 | USD | 178 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVYR1-RNA | Navy RINO RNA Lysis Kit 50 | 50pack | 101.185 | USD | 202 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
NAVYR5 | Navy RINO Lysis Kit 250 | 250pack | 368.69 | USD | 563 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stainless steel beads. | Product Type: Consumable; Product Family: Bullet Blender
NAVYR5-RNA | Navy RINO RNA Lysis Kit 250 | 250pack | 445.27 | USD | 666 | Next Advance | Bead lysis kits for the homogenization of large, tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ORANGEE1-RNA | Orange Lysis Kit 50 | 50pack | 74.165 | USD | 165 | Next Advance | Bead lysis kits for extracting bacteria or generating single cell suspensions from tissue samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ORANGER1-RNA | Orange RINO Lysis Kit 50 | 50pack | 76.86 | USD | 169 | Next Advance | Bead lysis kits for extracting bacteria or generating single cell suspensions from tissue samples. Pack of 50, 1.5mL RINO tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ORANGEE5-RNA | Orange Lysis Kit 250 | 250pack | 349.65 | USD | 537 | Next Advance | Bead lysis kits for extracting bacteria or generating single cell suspensions from tissue samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ORANGER5-RNA | Orange RINO Lysis Kit 250 | 250pack | 362.25 | USD | 554 | Next Advance | Bead lysis kits for extracting bacteria or generating single cell suspensions from tissue samples. Pack of 250, 1.5mL RINO tubes prefilled with stainless steel beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ORING2-116 | Replacement O-Ring | 5pack | 16.84 | USD | 88 | Next Advance | Replacement O-Ring for pressure cell body. Pack of 5. | Product Type: Accessory; Product Family: Pressure Cell
PACK-KIT | Column Packing Kit | 1pack | 718.4 | USD | 1035 | Next Advance | Column packing kit for pressure cells. Includes: HPREG regulator, TBNG10 tubing, CAP-75 capillary, and STRB5X2 stir bar. | Product Type: Accessory; Product Family: Pressure Cell
PC1000 | Pressure Injection Cell Clear | 1each | 1004.5 | USD | 1421 | Next Advance | Capillary loader with transparent body for packing LC/MS columns and loading MS. 1000 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules | Product Type: Equipment; Product Family: Pressure Cell
PC1000-MAG | Pressure Injection Cell Clear - Mag | 1each | 1354.5 | USD | 1894 | Next Advance | Capillary loader with transparent body for packing LC/MS columns and loading MS with integrated stir plate. 1000 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules | Product Type: Equipment; Product Family: Pressure Cell
PC77 | Pressure Injection Cell | 1each | 836.5 | USD | 1194 | Next Advance | Capillary loader for packing LC/MS columns and loading MS. 2500 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules | Product Type: Equipment; Product Family: Pressure Cell
PC77-MAG | Pressure Injection Cell - Mag | 1each | 1186.5 | USD | 1667 | Next Advance | Capillary loader for packing LC/MS columns and loading MS with integrated stir plate. 2500 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules and stir bar. | Product Type: Equipment; Product Family: Pressure Cell
PC8500 | Pressure Injection Cell | 1each | 1354.5 | USD | 1894 | Next Advance | Capillary loader for packing LC/MS columns and loading MS. 8500 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules | Product Type: Equipment; Product Family: Pressure Cell
PC8500-MAG | Pressure Injection Cell - Mag | 1each | 1704.5 | USD | 2366 | Next Advance | Capillary loader for packing LC/MS columns and loading MS with integrated stir plate. 8500 psi max. includes a FRIT-KIT, hex wrench and 10 ferrules and stir bar. | Product Type: Equipment; Product Family: Pressure Cell
PINK5E20 | 5E PINK Lysis Kit 20 | 20pack | 42.665 | USD | 123 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINK5E20-RNA | 5E PINK RNA Lysis Kit 20 | 20pack | 52.955 | USD | 136 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PINK5E100 | 5E PINK Lysis Kit 100 | 100pack | 187.74 | USD | 318 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINK5E100-RNA | 5E PINK RNA Lysis Kit 100 | 100pack | 233.03 | USD | 380 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PINKE1 | Pink Lysis Kit 50 | 50pack | 65.975 | USD | 154 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINKE1-RNA | Pink RNA Lysis Kit 50 | 50pack | 83.44 | USD | 178 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PINKE5 | Pink Lysis Kit 250 | 250pack | 290.29 | USD | 457 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINKE5-RNA | Pink RNA Lysis Kit 250 | 250pack | 367.15 | USD | 561 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PINKR1 | Pink RINO Lysis Kit 50 | 50pack | 68.635 | USD | 158 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINKR1-RNA | Pink RINO RNA Lysis Kit 50 | 50pack | 85.96 | USD | 181 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PINKR5 | Pink RINO Lysis Kit 250 | 250pack | 302.05 | USD | 473 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
PINKR5-RNA | Pink RINO RNA Lysis Kit 250 | 250pack | 378.28 | USD | 576 | Next Advance | Bead lysis kits for the homogenization of small, soft or medium-tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
PM-BBY | Preventative Maintenance BBY | 1each | 279.3 | USD | 442 | Next Advance | Preventative maintenance for Bullet Blender BBY models. Includes Cleaning, Quality Analysis certification and minor repair. | Product Type: Service; Product Family: Bullet Blender
PM-BBAU | Preventative Maintenance BBAU | 1each | 349.3 | USD | 537 | Next Advance | Preventative maintenance for Bullet Blender BBAU models. Includes Cleaning, Quality Analysis certification and minor repair. | Product Type: Service; Product Family: Bullet Blender
RED5E20 | 5E RED Lysis Kit 20 | 20pack | 49.14 | USD | 131 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
RED5E20-RNA | 5E RED RNA Lysis Kit 20 | 20pack | 61.285 | USD | 148 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 20, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
RED5E100 | 5E RED Lysis Kit 100 | 100pack | 216.23 | USD | 357 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
RED5E100-RNA | 5E RED RNA Lysis Kit 100 | 100pack | 269.71 | USD | 429 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 100, 5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
REDE1 | Red Lysis Kit 50 | 50pack | 76.51 | USD | 168 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
REDE1-RNA | Red RNA Lysis Kit 50 | 50pack | 93.765 | USD | 192 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
REDE5 | Red Lysis Kit 250 | 250pack | 336.7 | USD | 520 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
REDE5-RNA | Red RNA Lysis Kit 250 | 250pack | 412.58 | USD | 622 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
REDR1 | Red RINO Lysis Kit 50 | 50pack | 79.03 | USD | 172 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
REDR1-RNA | Red RINO RNA Lysis Kit 50 | 50pack | 96.425 | USD | 195 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
REDR5 | Red RINO Lysis Kit 250 | 250pack | 347.76 | USD | 534 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
REDR5-RNA | Red RINO RNA Lysis Kit 250 | 250pack | 424.27 | USD | 638 | Next Advance | Bead lysis kits for the homogenization of large, soft or medium-tough samples. Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
RRVR-100 | 100 BlotBot Reagent Reservoirs | 100pack | 83.3 | USD | 177 | Next Advance | BlotBot reagent reservoirs will allow dispensing of unique reagents during processing. Pack of 100. | Product Type: Consumable; Product Family: Freedom Rocker
RRVR-500 | 500 BlotBot Reagent Reservoirs | 500pack | 347.2 | USD | 534 | Next Advance | BlotBot reagent reservoirs will allow dispensing of unique reagents tray during processing. Pack of 500. | Product Type: Consumable; Product Family: Freedom Rocker
RVRFL | Foil Seals for Blotbot Reservoirs | 200pack | 47.6 | USD | 129 | Next Advance | Foil seals to allow reagent reservoirs to be reused. Pack of 200. | Product Type: Consumable; Product Family: Freedom Rocker
SHIELD-MW1-1000 | Shields for Mag(net)ic Wand - 1000 | 1000pack | 35.7 | USD | 113 | Next Advance | Shields for Shields for Mag(net)ic Wand, pack of 1000. | Product Type: Consumable; Product Family: Bullet Blender
SPAT1 | Spatulas (Large Pack) | 50pack | 175.08 | USD | 301 | Next Advance | Individually wrapped spatulas. RNase/DNase free, non-pyrogenic, antistatic, sterile, plastic. Pack of 50. | Product Type: Consumable; Product Family: Bullet Blender
SPAT2 | Spatulas (Small Pack) | 10pack | 50.6 | USD | 133 | Next Advance | Individually wrapped spatulas. RNase/DNase free, non-pyrogenic, antistatic, sterile, plastic. Pack of 10. | Product Type: Consumable; Product Family: Bullet Blender
SPN1 | Measuring Spoon (Large Pack) | 200pack | 306.96 | USD | 479 | Next Advance | Individually wrapped 1.2mL spoons. Sterile. Pack of 200. | Product Type: Consumable; Product Family: Bullet Blender
SPN2 | Measuring Spoon (Small Pack) | 20pack | 48.24 | USD | 130 | Next Advance | Individually wrapped 1.2mL spoons. Sterile. Pack of 20. | Product Type: Consumable; Product Family: Bullet Blender
SSB02 | Stainless Steel Beads 0.2mm | 1pack | 93.205 | USD | 191 | Next Advance | Stainless steel beads. 0.2mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB02-RNA | Stainless Steel Beads 0.2mm RNase Free | 1pack | 41.405 | USD | 121 | Next Advance | Stainless steel beads. 0.2mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB05 | Stainless Steel Beads 0.5mm | 1pack | 93.24 | USD | 191 | Next Advance | Stainless steel beads. 0.5mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB05-RNA | Stainless Steel Beads 0.5mm RNase Free | 1pack | 41.44 | USD | 121 | Next Advance | Stainless steel beads. 0.5mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB14B | Stainless Steel Beads 0.9 - 2.0mm blend | 1pack | 140.245 | USD | 254 | Next Advance | Stainless steel beads. 0.9 - 2.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB14B-RNA | Stainless Steel Beads 0.9 - 2.0mm blend RNase Free | 1pack | 46.97 | USD | 128 | Next Advance | Stainless steel beads. 0.9 - 2.0mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB16 | Stainless Steel Beads 1.6mm | 1pack | 140.28 | USD | 254 | Next Advance | Stainless steel beads. 1.6mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB16-RNA | Stainless Steel Beads 1.6mm RNase Free | 1pack | 47.005 | USD | 128 | Next Advance | Stainless steel beads. 1.6mm. 4mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB23 | Stainless Steel Beads 2.3mm | 1pack | 112.7 | USD | 217 | Next Advance | Stainless steel beads. 2.3mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB32 | Stainless Steel Beads 3.2mm | 1pack | 87.955 | USD | 184 | Next Advance | Stainless steel beads. 3.2mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB32-RNA | Stainless Steel Beads 3.2mm RNase Free | 1pack | 83.02 | USD | 177 | Next Advance | Stainless steel beads. 3.2mm. 10mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB48 | Stainless Steel Beads 4.8mm | 1pack | 88.025 | USD | 184 | Next Advance | Stainless steel beads. 4.8mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB48-RNA | Stainless Steel Beads 4.8mm RNase Free | 1pack | 83.125 | USD | 177 | Next Advance | Stainless steel beads. 4.8mm. 10mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB60 | Stainless Steel Beads 6.0mm | 1pack | 89.74 | USD | 186 | Next Advance | Stainless steel beads. 6.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB60-RNA | Stainless Steel Beads 6.0mm RNase Free | 1pack | 84.56 | USD | 179 | Next Advance | Stainless steel beads. 6.0mm. 10mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB110-25 | Stainless Steel Beads 11mm (Small Pack) | 25pack | 64.54 | USD | 152 | Next Advance | Stainless steel beads. 11mm. Pack of 25. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSB110-25-RNA | Stainless Steel Beads 11mm RNase Free | 25pack | 158.06 | USD | 278 | Next Advance | Stainless steel beads. 11mm. Pack of 25. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSB110-100 | Stainless Steel Beads 11mm (Large Pack) | 100pack | 161.035 | USD | 282 | Next Advance | Stainless steel beads. 11mm. Pack of 100. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSUFO35 | Stainless Steel UFO Beads 3.5mm | 1pack | 93.17 | USD | 191 | Next Advance | Stainless steel UFO beads. 3.5mm. 50mL. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSUFO35-RNA | Stainless Steel UFO Beads 3.5mm RNase Free | 1pack | 92.05 | USD | 189 | Next Advance | Stainless steel UFO beads. 3.5mm. 10mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
SSUFO56 | Stainless Steel UFO Beads 5.6mm | 1pack | 91.175 | USD | 188 | Next Advance | Stainless steel UFO beads. 5.6mm. 50mL. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
SSUFO56-RNA | Stainless Steel UFO Beads 5.6mm RNase Free | 1pack | 92.82 | USD | 190 | Next Advance | Stainless steel UFO beads. 5.6mm. 10mL. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ST201 | Tier-2 Stacking Tray Pro | 1each | 95.2 | USD | 194 | Next Advance | Stacking tray for Infinity and Next Rocker Pro models. Nests to existing 11 x 14 in. platform. | Product Type: Accessory; Product Family: Rockers
ST202 | Tier-2 Stacking Tray Mini | 1each | 84.7 | USD | 179 | Next Advance | Stacking tray for Infinity and Next Rocker Mini models. Nests to existing 8 x 9 in. platform. | Product Type: Accessory; Product Family: Rockers
ST203 | Tier-2 Stacking Tray XL | 1each | 119.7 | USD | 227 | Next Advance | Stacking tray for Infinity Rocker XL model. Nests to existing 20 x 16 in. platform. | Product Type: Accessory; Product Family: Infinity Rocker
STRBR5X2 | Stirbar | 1each | 8.12 | USD | 76 | Next Advance | 5 x 2mm teflon coated magnetic stirbar. | Product Type: Accessory; Product Family: Pressure Cell
TBNG10 | 1/8 inch Stainless Steel Tubing | 1each | 149.6 | USD | 267 | Next Advance | 1/8 inch OD stainless steel tubing. Coil of 10 feet. | Product Type: Accessory; Product Family: Pressure Cell
TRAY-2MINI-2 | BlotBot Mini Blot Tray | 2pack | 102.9 | USD | 204 | Next Advance | Replacement trays for the BlotBot allows you to run 2 Mini sized blots simultaneaously. Pack of 2 trays. | Product Type: Accessory; Product Family: Freedom Rocker
TRAY-MIDI-2 | BlotBot Midi Blot Tray | 2pack | 101.5 | USD | 202 | Next Advance | Replacement tray for the BlotBot allows you to run 1 Midi sized blot. Pack of 2 trays. | Product Type: Accessory; Product Family: Freedom Rocker
TS50 | TubeSpin Bioteactor (50mL) | 180case |  | USD | 65 | Next Advance | 50mL vessels for bacteria, yeast or suspension cell cultures. | Product Type: Consumable; Product Family: Culture Vessel
TS600 | TubeSpin Bioteactor (600mL) | 26case |  | USD | 65 | Next Advance | 600mL vessels for bacteria, yeast or suspension cell cultures. | Product Type: Consumable; Product Family: Culture Vessel
TF10 | Tiny Flask | 350case |  | USD | 65 | Next Advance | All-in-one T10 flask for adherent cell cultures. Fits standard 50mL conical tube centrifuge rotor bucket. | Product Type: Consumable; Product Family: Culture Vessel
TUBE1.5AX-S | Microcentrifuge Tube 1.5mL (Axygen) | 500box | 109.36 | USD | 213 | Next Advance | Screw-cap tubes, 1.5 mL, Axygen brand, with caps for use in microcentrifuge style Bullet Blenders with a "W" in the serial number. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE1EP5 | Non-Sterile Microcentrifuge Tube 1.5mL (Eppendorf Safe-Lock) | 500box | 54.68 | USD | 139 | Next Advance | Eppendorf® Safe-Lock™ 1.5 mL snap-cap tubes for microcentrifuge style Bullet Blenders. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
TUBE1EP5-S | Sterile Microcentrifuge Tube 1.5mL (Eppendorf Safe-Lock) | 500box | 71 | USD | 161 | Next Advance | Eppendorf® Safe-Lock™ 1.5 mL snap-cap tubes for microcentrifuge style Bullet Blenders. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE1R5-S | Sterile Microcentrifuge Tube 1.5mL (RINO) | 500box | 132.3 | USD | 244 | Next Advance | RINO brand 1.5 mL screw-cap microcentrifuge tubes with caps for Storm and Gold model microcentrifuge style Bullet Blenders. Use with a RINO™ lid gasket. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE2EP | Non-Sterile Microcentrifuge Tube 2.0mL (Eppendorf Safe-Lock) | 500box | 56.32 | USD | 141 | Next Advance | Eppendorf® Safe-Lock™ 2 mL snap-cap tubes for regular and Blue model snap cap Bullet Blenders. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
TUBE2EP-S | Sterile Microcentrifuge Tube 2.0mL (Eppendorf Safe-Lock) | 500box | 72.6 | USD | 163 | Next Advance | Eppendorf® Safe-Lock™ 2 mL snap-cap tubes for regular and Blue model snap cap Bullet Blenders. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE50TPP-S | Sterile 50mL Centrifuge Tube (TPP) | 320box | 166.4 | USD | 290 | Next Advance | Skirted screw-cap 50mL TPP tubes with caps. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE5AX | Non-Sterile 5mL Transport Tube (Axygen) | 1000box | 110.28 | USD | 214 | Next Advance | Skirted screw-cap 5mL Axygen tubes with caps. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
TUBE5AX-S2 | Sterile 5mL Transport Tube (Axygen) | 500box | 117.12 | USD | 223 | Next Advance | Skirted screw-cap 5mL Axygen tubes with caps. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
TUBE5EP-S | Sterile 5mL Centrifuge Tube (Eppendorf) | 200box | 66.84 | USD | 155 | Next Advance | Eppendorf® brand 5 mL snap-cap centrifuge tubes for with 5E model Bullet Blenders. Sterile, RNase & DNase free. | Product Type: Consumable; Product Family: Bullet Blender
WSCP1 | Wholly Scoop | 1each | 14.392 | USD | 84 | Next Advance | Dry ice scoop with holes to help clear fine particles. | Product Type: Accessory; Product Family: Bullet Blender
YELLOWE1 | YELLOW Lysis Kit 50 | 50pack | 81.34 | USD | 175 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWE1-RNA | YELLOW RNA Lysis Kit 50 | 50pack | 94.15 | USD | 192 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 50, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWE5 | YELLOW Lysis Kit 250 | 250pack | 357.91 | USD | 548 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWE5-RNA | YELLOW RNA Lysis Kit 250 | 250pack | 414.26 | USD | 624 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 250, 1.5mL Eppendorf Safe-Lock tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWR1 | YELLOW RINO Lysis Kit 50 | 50pack | 83.685 | USD | 178 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWR1-RNA | YELLOW RINO RNA Lysis Kit 50 | 50pack | 99.575 | USD | 199 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 50, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWR5 | YELLOW RINO Lysis Kit 250 | 250pack | 368.27 | USD | 562 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. | Product Type: Consumable; Product Family: Bullet Blender
YELLOWR5-RNA | YELLOW RINO RNA Lysis Kit 250 | 250pack | 438.13 | USD | 656 | Next Advance | Bead lysis kits for the homogenization of small cell suspensions (ex - E. coli). Pack of 250, 1.5mL RINO screw-cap tubes prefilled with stabilized ceramic beads. RNase free. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB015 | Zirconium Oxide Beads 0.15mm | 1pack | 68.53 | USD | 158 | Next Advance | Fused Zirconium Oxide beads . 0.15mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB015-RNA | Zirconium Oxide Beads 0.15mm RNase Free | 1pack | 30.695 | USD | 106 | Next Advance | Fused Zirconium Oxide beads . 0.15mm. 4mL. RNase-free. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB05 | Zirconium Oxide Beads 0.5mm | 1pack | 68.565 | USD | 158 | Next Advance | Zirconium Oxide beads . 0.5mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB05-RNA | Zirconium Oxide Beads 0.5mm RNase Free | 1pack | 30.73 | USD | 106 | Next Advance | Zirconium Oxide beads . 0.5mm. 4mL. RNase-free. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB10 | Zirconium Oxide Beads 1.0mm | 1pack | 68.6 | USD | 158 | Next Advance | Zirconium Oxide beads . 1.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB10-RNA | Zirconium Oxide Beads 1.0mm RNase Free | 1pack | 30.765 | USD | 107 | Next Advance | Zirconium Oxide beads . 1.0mm. 4mL. RNase-free. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB20 | Zirconium Oxide Beads 2.0mm | 1pack | 68.635 | USD | 158 | Next Advance | Zirconium Oxide beads . 2.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB20-RNA | Zirconium Oxide Beads 2.0mm RNase Free | 1pack | 30.8 | USD | 107 | Next Advance | Zirconium Oxide beads . 2.0mm. 4mL. RNase-free. | Product Type: Consumable; Product Family: Bullet Blender
ZrOB25 | Zirconium Oxide Beads 2.5mm | 1pack | 68.67 | USD | 158 | Next Advance | Zirconium Oxide beads . 2.5mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZSB05 | Zirconium Silicate Beads 0.5mm | 1pack | 42.315 | USD | 122 | Next Advance | Zirconium Silicate beads . 0.5mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender
ZSB10 | Zirconium Silicate Beads 1.0mm | 1pack | 42.35 | USD | 122 | Next Advance | Zirconium Silicate beads . 1.0mm. 1 lb. Non-sterile. | Product Type: Consumable; Product Family: Bullet Blender